Building reopening checklist

| Before re-opening your property, you need to consider the safety of the property that’s been closed for some time. The person responsible for the re-opening the property should be checking the property for the items contained in this checklist. Please note this list isn’t exhaustive. Insert a Y (yes), N (no) or NA (not applicable) in the status column. If you put ‘N’, note down actions required. Services/activity | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Set building opening date and time and communicate it to users. |  |  |  |
| Stop periodic drive-bys and external building checks. |  |  |  |
| Complete the annual property risk assessment |  |  |  |

| Physical security | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Restore normal processes for opening and closing building entrances and windows. |  |  | asd |
| Check bookings don’t exceed the building occupancy levels. |  |  |  |

| Name of premises risk assessment completed for: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |
| Name of person completing risk assessment: |  |  | Role: |  | Membership no. (if applicable) |  |

| Fire safety | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Check all fire routes and final exits are clear and free from obstructions. |  |  |  |
| Check fire doors are closed or are on magnetic release/fire door holders. |  |  |  |
| Check fire extinguishers and blankets are provided in all designated areas, clearly marked and unobstructed. |  |  |  |
| Check fire routes and doors are correctly marked and signage is unobstructed. |  |  |  |

| Alarms | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Restore fire and security alarm systems to normal status. |  |  |  |
| Check fire alarm system is fully working and there are no faults noted on the fire panel. |  |  |  |

| Signage | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Restore any signage associated with building closure |  |  |  |

| Building services | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Turn on small appliances (for example coffee machines, toasters, microwaves etc). |  |  |  |
| Reinstate waste and recycling collection, especially garbage and perishable food and beverages. |  |  |  |
| Check all fridges are plugged in, running and operating at 5°C or below. |  |  |  |
| Check all freezers are plugged in, running and operating at - 18 °C or below. |  |  |  |
| Turn on any gas supply. |  |  |  |

| Heating and ventilation systems | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Verify automatic temperature control/freeze protection is in place and active. |  |  |  |
| Place systems in normal status. |  |  |  |
| Do controlled start-up of boilers and steam generators. |  |  |  |

| Emergency systems | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Ensure emergency systems are in standby mode. |  |  |  |
| Ensure remote monitoring, if in place, is active and functioning. |  |  |  |
| Ensure leak detection devices are functioning. |  |  |  |
| Check fire/smoke/carbon monoxide detectors. |  |  |  |

| Plumbing | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Check bathrooms are in good condition with no issues. |  |  |  |
| Restore plumbing systems to normal status. Check hot and cold water is running to all wash hand basins, and the hot water temperature is suitable. |  |  |  |
| Consider replacing or removing and descaling shower heads before reusing. |  |  |  |
| Ensure a competent person disinfects the cold water system (where applicable). |  |  |  |
| Flush the system through, running all taps, showers and outlets for 2 minutes before reusing, taking appropriate precautions in relation to legionella contamination. |  |  |  |
| Check sanitary and storm drainage for any blockages. |  |  |  |

| Lighting systems | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Restore interior and exterior lighting controls to normal status. |  |  |  |
| Ensure interior and exterior lighting is working. |  |  |  |
| Check the emergency lighting is in full working order and a test has been carried out. |  |  |  |

| Miscellaneous | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Check any out-of-date products have been disposed of. |  |  |  |
| Check any internet connection to the premises is fully operational. |  |  |  |

| Electrical systems | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Restore electrical systems to normal status. |  |  |  |
| If applicable, check back-up generator status and fuel storage. |  |  |  |

| Cleaning | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Check cleaning chemicals are fully stocked and available for use. |  |  |  |
| Clean and sanitise food contact and preparation surfaces. |  |  |  |
| Wash all food contact equipment and utensils. |  |  |  |
| Clean and sanitise fridges and freezers. |  |  |  |
| Clean and sanitise all hand contact surfaces. |  |  |  |
| Clean and sanitise all sinks and wash hand basins. |  |  |  |
| Clean all structures (for example floors, walls, ceilings and doors). |  |  |  |

| Pest control | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Check all areas are free from pest activity and droppings. |  |  |  |
| If pest activity or droppings are found, contact a pest control contractor. |  |  |  |
| If applicable, safely remove and dispose of any droppings and clean and sanitise the area. |  |  |  |
| Ensure electric fly killers are in good working order. |  |  |  |

| Lifts including disabled hoists | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Check all insurance inspections and turn the lifts back on |  |  |  |