Building shutdown checklist

| Before closing your property, you need to consider the safety of a property to make sure the building is safe for when you return. The person responsible for re-opening the building should be checking the property for the items contained in this checklist. Please note that this list isn’t exhaustive. Insert a Y (yes), N (no) or NA (not applicable) in the status column. If you put ‘N’, note down actions required. Name of premises risk assessment completed for: |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| Address: |  |  |  |  |  |  |
| Name of person completing risk assessment: |  |  | Role: |  | Membership no. (if applicable) |  |

| Physical security | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Confirm all building entrances and windows are locked and properly store keys. |  |  |  |
| Check building is empty (best practice is to sweep each room). |  |  |  |
| Agree how building re-entry/access will be made while building is secured. |  |  |  |

| Services/activity | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Set building closure date and time and communicate it to users. |  |  |  |
| Consider assigning people to periodically drive by and check external building. |  |  |  |

| Alarms | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Ensure fire and security alarm systems are active. |  |  |  |

| Signage | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Post signage at main entrances indicating building closure and detailing emergency contacts. |  |  |  |

| Building services | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Turn off and unplug all small appliances (coffee machines, toasters, microwaves, etc). |  |  |  |
| Dispose of food in refrigerators and freezers and clean before turning them off, leaving their doors open. |  |  |  |
| Arrange for waste and recycling collection, especially for perishable food and beverages and sanitary bins. Suspend bin collection services until you reopen. |  |  |  |
| Turn off and unplug any laundry equipment. |  |  |  |
| Turn off any gas supply. |  |  |  |

| Heating and ventilation systems | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Verify automatic temperature control/ freeze protection is in place and active. |  |  |  |
| Put systems in secure (shutdown , if appropriate) condition. |  |  |  |
| Do controlled shutdown of boilers and steam generators. |  |  |  |

| Plumbing | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Check water isn’t running in any bathrooms. |  |  |  |
| Consider whether it’s necessary to flush through systems periodically while the building is unoccupied. |  |  |  |
| Check sanitary and storm drainage for any blockages and clear them to stop flooding. |  |  |  |

| Lighting system | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Ensure interior and exterior lighting controls are in automatic mode or turned off as appropriate. |  |  |  |

| Electrical systems | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Restore electrical system to normal status. |  |  |  |
| If applicable, check back-up generator status and fuel storage. |  |  |  |
| Turn off and unplug any fans or heaters. |  |  |  |

| Emergency systems | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Ensure emergency systems are in standby mode. |  |  |  |
| Ensure remote monitoring, if in place, is active and functioning. |  |  |  |
| Ensure any leak detection devices, if in place, are functioning. |  |  |  |
| Check fire/smoke/carbon monoxide detectors. |  |  |  |

| Miscellaneous | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Lock desks and filing cabinets. |  |  |  |
| Draw curtains and blinds. |  |  |  |
| Ensure flammable materials including liquid petroleum gas (LPG) are secure and in a safe position. |  |  |  |

| Cleaning | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Ensure all areas are clean and free from any material that might attract pests. |  |  |  |

| Pest control | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Ensure all areas are free from pest activity and droppings. |  |  |  |

| Lifts including disabled hoists | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Bring all lifts to ground level and turn them off. |  |  |  |

| Fire safety | Status (Y/N/NA) | Date completed | Action required |
| --- | --- | --- | --- |
| Ensure all fire routes and final exits are clear and free from obstruction. |  |  |  |
| Check all fire doors are closed. |  |  |  |